OpenHAB Infinity House Layout
Location	Type	Model details	Options	Sensor	Reference	Notes
Various	Sensor Node - Arduino	Arduino UNO Buono R3	3.3 volts operation			Will run Uber HAB software.
garage	Door 1		open,close	Mechanical switch
	Door 2		Open,close	Mechanical switch
	Light		On,off	Light sensor
	Temperature humidity		reading	Temp & Humidity	AM2302
	Central vacuum	Craftsman	On,off
	Central Vacuum		Dust level
	Motion		On,off
Shed	Door		Open,closed	Mechanical switch
	Motion		On,off
Communication	Motion		On,off	Motion detector
	Computer status		On,off	IP live
	temperature			Temp & Humidity	AM2302
	Gun cabinet		Open,closed	Mechanical switch
	Control Unit - RasPi	Raspi 3	OpenHAB	N/a		Remote restart will be required.
	Message Broker - Arduino	UNO Buono R3 with Ethernet Shield	MQQT	N/a	UNO Buono R3 / HR911105A	Will run MQQT. Remote restart will be required.
Utility	Power status		On,off
	HRV		Operating record	Current Transformer split core	SCT013
	Furnace		Operating record	Current Transformer split core	SCT013
	Water softener		Operating record	Current Transformer split core	SCT013
	Water softener		Salt level	Proximity sensor
	Sump		Operating record	Current Transformer split core	SCT013
	Temperature humidity			Temp & Humidity	AM2302
Wine cellar	Temperature, Humidity			Temp & Humidity	AM2302
	Door		Open,closed	Mechanical switch
Laundry	Dryer		Operating	Current Transformer split core	SCT013
	Dryer vent temperature			Temp		Should be probe design to go through pipe.
	Washer		Operating	Current Transformer split core	SCT013
	Supplies status		On,off	Keypad
Wish List	Power usage date retrieve			API?
	DVR monitor		alarm	Wired?
	Alarm System		status	Wired